## City Hall
Caption:City Hall ADA assessment findings, recommendations for remediation, and associated costs.
ID | LOCATION | BUILT BEFORE ADA | VIOLATIONS | 2010 ADA CODE | RECOMMENDATIONS | ESTIMATED COST | QUICK FIX | PRIORITY SCORE
4053 | Main Plaza | Yes | Boise staff notified us that previously a guide dog was circling around the plaza and could not find its way back to the street. | §0.00 | For the purpose of achieving greater accessibility and Human Centric Design, consider adding handrails to the ramp or painting the sloped walkway to distinguish it from the rest of the plaza. | 0 | Yes | 0
3921 | HR Front Desk | Yes | The fingerprint machine is outside of the unobstructed forward reach range at 54" above the floor. Please note that assistance is provided at this location and a City of Boise staff will lower it to the appropriate height. | §308.2.1 | Ensure that the fingerprint machine is lowered to a maximum height of 48" when utilized by a person with a wheelchair. White the current turning space is compliant, it could be extended to a 60" circle to provide a greater level of accessibility. | 100 | Yes | 8
4010 | 2nd Floor Housing and Community Development Women's Restroom | Yes | The coat hook is outside of the unobstructed forward reach range. | §308.2.1 | Lower the coat hook to meet the accessible reach range of 15" minimum and 48" maximum above the floor. | 100 | Yes | 8
4096 | 3rd Floor Men's Restroom by IT | Yes | The coat hook is outside of the unobstructed forward reach range at 66" above the floor. | §308.2.1 | Lower the coat hook by 18" to meet the accessible reach range of 15" minimum and 48" maximum above the floor. | 100 | Yes | 8
4173 | Housing and Community Development | Yes | The microwave is outside of the obstructed forward reach range at 53" above the floor.. | §308.2.2 | Place the microwave on the lower counter to ensure it is a maximum of 48" above the floor. | 100 | Yes | 8
4409 | 1st Floor Men's Restroom by Art Office | Yes | The coat hook is outside of the unobstructed forward reach range at 53" above the floor. | §308.2.1 | Lower the coat hook by 5" to meet the accessible reach range of 15" minimum and 48" maximum above the floor. | 100 | Yes | 8
4420 | 3rd Floor IT Women's Restroom | Yes | The coat hook is outside of the unobstructed forward reach range at 69" above the floor. | §308.2.1 | Lower the hook by 21" to meet the accessible reach range of 15" minimum and 48" maximum above the floor. | 100 | Yes | 8
3794 | 2nd Floor Housing and Community Development Women's Restroom | Yes | The left mirror is 41.5" above the floor. | §603.3 | Lower the mirror so its bottom edge is a maximum height of 40" above the floor. | 100 | Yes | 7
3801 | Basement Garage | Yes | The fire extinguisher protrudes 6.75" into the circulation space at 32" above the floor. | §307.2 | Recess the fire extinguisher so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
3802 | 1st Floor Mail Hallway Women's Restroom | Yes | The dispenser protrudes 5.75" into the circulation space at 30" above the floor. | §307.2 | Recess the dispenser so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
3821 | 2nd Floor PDS Men's Restroom | Yes | The shelf protrudes 6" into the circulation space. | §307.2 | Recess the shelf so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor. Another option would be to ensure that there is an object on both ends of the shelf to provide cane detectability object beneath it. | 100 | Yes | 5
3827 | 8th Floor Office of the City Attorney Women's Restroom | Yes | The toilet paper dispenser centerline is located 5" in front of the toilet. | §604.7 | Remount the toilet paper dispenser so that the centerline is located 7" minimum to 9" maximum in front of the toilet. Ensure that the height is within the accessible reach range of 15" minimum to 48" maximum above the floor. | 100 | Yes | 5
3843 | 3rd Floor River Conference Room | Yes | The River Conference Room sign is located 62" above the floor. | §703.4 | Reinstall the sign on the right side of the right hand door at 48" minimum above the floor measured from the baseline of the lowest character and 60" maximum measured from the baseline of the highest character. | 100 | Yes | 6
3846 | 3rd Floor Men's Restroom by IT | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
3850 | 2nd Floor Men's Restroom by Bistro | Yes | The second floor men's restroom is not accessible and does not have a sign directing customers to the nearest accessible restroom. | §216.6 | Install a directional sign providing information to the nearest accessible restroom. The directional sign will comply with §703.5 and be between 48" and 60" above the floor, measured to the middle of the text. | 100 | Yes | 6
3870 | Service Entrance | Yes | There is not adequate clear floor space in the front of the garbage and recycling cans. | §305.3 | Relocate the garbage and recycling cans to ensure that a minimum clear and level floor space of 30"x48" is available. | 100 | Yes | 5
3871 | 4th Floor Public Works Women's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
3877 | 4th Floor Public Works Women's Restroom | Yes | The toilet paper dispenser centerline is located 6" in front of the toilet. | §604.7 | Remount the toilet paper dispenser centerline so that it is located 7" minimum to 9" maximum in front of the toilet. Ensure that the height is within the accessible reach range of 15" minimum to 48" maximum above the floor. | 100 | Yes | 5
3882 | 4th Floor Office of the City Attorney Women's Restroom | Yes | The shelf protrudes 5" into the circulation space at 59" above the floor. | §307.2 | Recess the shelf so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
3888 | 1st Floor Men's Restroom | Yes | The second mirror is 53" above the floor. | §603.3 | Lower the mirror to the maximum bottom edge height of 40" above the floor. | 100 | Yes | 7
3913 | 1st Floor Men's Restroom by Mini Market | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
3916 | 1st Floor Men's Restroom by Art Office | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
3966 | 4th Floor Office of the City Attorney Women's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
3967 | 4th Floor Office of the City Attorney Women's Restroom | Yes | The space between the grab bar and toilet seat cover dispenser is 6". | §609.3 | Relocate the dispenser to a location that is at least a distance of 12" or greater above the grab bar. Ensure that the dispenser is located 48" maximum above the floor. | 100 | Yes | 5
3968 | 4th Floor Office of the City Attorney Women's Restroom | Yes | The space between the rear grab bar and shelf is 11". | §609.3 | Relocate the shelf to a location that is at least a distance of 12" or greater above the grab bar. Ensure that the shelf is located 48" maximum above the floor. | 100 | Yes | 5
3970 | 1st Floor Men's Restroom by Mini Market | Yes | The accessible water closet does not have a vertical grab bar. | ICC 604.5.1 | Insall an 18" long (minimum) vertical grab bar on the side wall. The grab bar shall be mounted with the bottom located at 39" minimum and 41" maximum above the floor. The centerline of the vertical grab bar shall be located 39" minimum and 41" maximum from the real wall. | 100 | Yes | 5
3979 | 4th floor Men's Attorney Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
3988 | 1st Floor Women's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
4005 | 2nd Floor Housing and Community Development Women's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
4011 | 4th floor Men's Attorney Restroom | Yes | The space between the grab bar and toilet seat cover dispenser is 8". | §609.3 | Relocate the dispenser to a location that is at least a distance of 12" or greater away from the grab bar. | 100 | Yes | 5
4022 | 1st Floor Women's Restroom | Yes | The pipe cover is falling off. | §606.5 | Wrap the pipe beneath the sink with soft protective wrap or plastic. | 100 | Yes | 7
4049 | North Stairwell 1 | Yes | The door knob requires twisting of the wrist. | §309.4 | Replace the door knob with a lever handle that can be operated with a closed fist and without twisting the wrist. | 100 | Yes | 7
4100 | 1st Floor Men's Restroom by Mini Market | Yes | The paper towel dispenser protrudes 9" into the circulation space at 46" above the floor. | §307.2 | Recess the dispenser so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
4147 | 4th Floor Public Works Men's Restroom | Yes | The paper towel dispenser protrudes 9" into the circulation space. | §307.2 | Recess the paper towel dispenser so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
4166 | 3rd Floor Men's Restroom by IT | Yes | The space between the grab bar and toilet seat cover dispenser is 4". | §609.3 | Relocate the dispenser to a location that is at least a distance of 12" or greater away from the grab bar. | 100 | Yes | 5
4168 | 2nd Floor Engineering Men's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
4181 | 1st Floor Men's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
4192 | 1st Floor Mail Hallway Women's Restroom | Yes | The paper towel dispenser protrudes 8" into the circulation space. | §307.2 | Recess the dispenser so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
4194 | 1st Floor Mail Hallway Women's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
4195 | 1st Floor Mail Hallway Women's Restroom | Yes | The space between the grab bar and toilet seat cover dispenser is less 5.5". | §609.3 | Relocate the dispenser to a location that is at least a distance of 12" or greater away from the grab bar. | 100 | Yes | 5
4200 | 1st Floor Mail Hallway Women's Restroom | Yes | The toilet paper dispenser is located 6" in front of the toilet. | §604.7 | Remount the toilet paper dispenser so that it is located 7" minimum to 9" maximum in front of the toilet. Ensure that the height is within the accessible reach range of 15" minimum to 48" maximum above the floor. | 100 | Yes | 5
4257 | 1st Floor Women's Restroom | Yes | The dispenser protrudes 6" into the circulation space. | §307.2 | Recess the dispenser so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
4258 | 1st Floor Women's Restroom | Yes | The sharps dispenser protrudes 5" into the circulation space. | §307.2 | Ensure that the garbage can is always underneath the sharps dispenser to provide cane detectability. Another option would be to recess the sharps dispenser so it protrudes a maximum of 4" or lower it so the bottom edge is 27" maximum above the floor. | 100 | Yes | 5
4259 | 4th floor Men's Attorney Restroom | Yes | The metal shelf protrudes 5" into the circulation space. | §307.2 | Recess the metal shelf so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable &nbsp;object beneath it. | 100 | Yes | 5
4262 | Main Street Entrance | Yes | The clear floor space at the drop box has a 3.6% slope. | §305.3 | Relocate the drop box to an area with a minimum clear floor space of 30"x48" and a maximum slope of 2% in all directions. If the drop box protrudes more than 4", ensure that the bottom edge is no higher than 27" above the ground or place an object underneath to provide cane detectability. | 100 | Yes | 5
4265 | 3rd Floor Office of Community Engagement | Yes | The AED protrudes 6" into the circulation space. | §307.2 | Recess the AED so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
4267 | 2nd Floor Public Works Engineering Women's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
4287 | 2nd Floor Engineering Men's Restroom | Yes | The space between the grab bar and toilet seat cover dispenser is 10". | §609.3 | Relocate the dispenser to a location that is at least a distance of 12" or greater away from the grab bar. | 100 | Yes | 5
4295 | 4th Floor Men's Attorney Break Room | Yes | The AED protrudes 6" into the circulation space at 39" above the floor. | §307.2 | Recess the AED so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
4321 | 2nd Floor Housing and Community Development Women's Restroom | Yes | The dispenser protrudes 6" into the circulation space at 34.5" above the floor. | §307.2 | Recess the dispenser so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
4331 | 2nd Floor PDS Men's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
4339 | Main Street Entrance | Yes | The clear floor space in front of the garbage cans has a 3.5% slope. | §305.3 | Relocate the garbage cans to ensure that a minimum clear and level floor space of 30"x48" is availble in front of every can. | 100 | Yes | 5
4345 | 1st Floor Women's Restroom | Yes | The mirrors are 41" and 53" above the floor. | §603.3 | Lower one of the mirrors to the maximum height of 40" above the floor. | 100 | Yes | 7
4373 | Main street entrance | Yes | There is not adequate clear floor space in the front of the exit sign. | §703.4.2 | Relocate the garbage and recycling cans to ensure that a minimum clear and level floor space of 18"x18" is available by the push button. | 100 | Yes | 6
4377 | 2nd Floor Men's Restroom by Bistro | Yes | The mirror closest to the accessible lavatory is 52" above the floor. | §603.3 | Lower the mirror to the maximum height of 40" above the floor. | 100 | Yes | 7
4415 | 3rd Floor IT Women's Restroom | Yes | The space between the grab bar and toilet seat cover dispenser is 5.5". | §609.3 | Relocate the dispenser to a location that is at least a distance of 12" or greater away from the grab bar. | 100 | Yes | 5
4419 | 3rd Floor IT Women's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
4421 | Art and History Women's Restroom | Yes | The door to the accessible water closet is not self closing. Either self-closing hinges are not installed on the door or if installed, they are defective. | §604.8.1.2 | Install or reinstall self-closing hinges on the door to ensure that the door is self-closing per the ADA requirements. | 100 | Yes | 5
4427 | 3rd Floor Greenbelt Conference Room | Yes | The Greenbelt Conference Room sign is located 62" above the floor. | §703.4 | Reinstall the sign closer to the door on the latch side at 48" minimum above the floor measured from the baseline of the lowest character and 60" maximum measured from the baseline of the highest character. | 100 | Yes | 6
4442 | 4th Floor Public Works Women's Restroom | Yes | The paper towel dispenser protrudes 7" into the circulation space. | §307.2 | Recess the dispenser so it protrudes a maximum of 4", lower it so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 100 | Yes | 5
4461 | North Stairwell 1 | Yes | The tactile sign identifying the North Stairwell is at 64" above the floor. | §703.4 | Reinstall the sign on the latch side of the door at 48" minimum above the floor measured from the baseline of the lowest character and 60" maximum measured from the baseline of the highest character. | 100 | Yes | 6
4148 | Garage Entry | Yes | Although it is not in violation of the 2010 ADA Standards for Accessible Design, it must be noted that the maximum height of the garage is not posted for users. | §0.00 | To improve the user experience, install a sign indicating the clearance of the garage. Parking spaces for vans and access aisle shall have a minimum vertical clearance of 98". If the internal clearance within the garage is less than 98", van accessible parking will need to be provided at another location. | 100 | Yes | 0
4182 | 4th Floor Office of the City Attorney Restrooms | Yes | The coat hooks in the men and women's are outside of the unobstructed forward reach range at 67" above the floor. | §308.2.1 | Lower the coat hooks by 19" to meet the accessible reach range of 15" minimum and 48" maximum above the floor. | 200 | Yes | 8
4273 | 2nd Floor Public Works Engineering Restrooms | Yes | The coat hooks in the men and women's restrooms are outside of the unobstructed forward reach range at 58 and 59.5" above the floor respectively. | §308.2.1 | Lower the coat hooks by 10" and 11.5" to meet the accessible reach range of 15" minimum and 48" maximum above the floor. | 200 | Yes | 8
3793 | 2nd Floor Housing and Community Development Women's Restroom | Yes | The pipes under the sink are not covered. | §606.5 | Wrap the pipes beneath the sink with soft protective wrap or plastic. | 200 | Yes | 7
3893 | 2nd Floor Housing and Community Development Women's Restroom | Yes | The pipe covers are falling off. | §606.5 | Wrap the pipes beneath the sink with soft protective wrap or plastic. | 200 | Yes | 7
4090 | 4th Floor Public Works Outside Restrooms | Yes | The AED and fire extinguisher protrude 6" into the circulation space at 28" and 29" above the floor. | §307.2 | Recess the AED and fire extinguisher so they protrude a maximum of 183", lower them so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath them. | 200 | Yes | 5
4296 | 4th Floor Men's Attorney Break Roon | Yes | The table protrudes 20" into the circulation space at 38" above the floor. | §307.2 | Add table legs on the end corners to provide cane detectability beneath the table. | 200 | Yes | 5
3963 | Art and History | Yes | The tactile signs identifying the rooms are at 62" above the floor. | §703.4 | Reinstall the signs on the latch side of the doors at 48" minimum above the floor measured from the baseline of the lowest character and 60" maximum measured from the baseline of the highest character. | 300 | Yes | 6
4003 | Lobby Doors | Yes | The conference room sign is 62.75" above the floor. Two other lobby doors are lacking signage. | §703.4 | Reinstall and install the sign on the latch side of the door at 48" minimum above the floor measured from the baseline of the lowest character and 60" maximum measured from the baseline of the highest character. | 300 | Yes | 6
3830 | Purchasing Department | Yes | There is no tactile sign identifying the permanent rooms. | §216.2, §703 | Install tactile signage on the latch side of the doorways at a height of 48” minimum to 60” maximum above the floor, identifying room by name or room number. Signs shall be Braille with raised lettering and should be placed on the wall in the center of an 18"x18" clear floor space. | 300 | Yes | 3
3097 | Finger Print Station at the Customer Service Counter 5 | Yes | The counter is located at 34.5" above the floor, and the finger print machine is 39" above the floor. | §902.3 | Lower the counter so it is located at a maximum height of 34" above the floor. Provide a lower table for the finger printer machine to ensure a maximum height of 34" above the floor. | 500 | Yes | 8
3969 | Main Plaza Payment Depository | Yes | The payment depository is outside of the unobstructed forward reach range at 52" above the floor. | §308.2.1 | Lower the payment depository by at least 4" to meet the accessible reach range of 15" minimum and 48" maximum above the floor. | 500 | Yes | 8
4051 | Lobby Kiosk | Yes | The top two selection options are 52" above the floor. | §308.2.2 | Lower the machine by 4" to ensure the top two selection options are at a maximum height of 48" above the floor. | 500 | Yes | 8
3831 | 2nd Floor Housing and Community Development Women's Restroom | Yes | The shelf and dispenser protrude 6" into the circulation space at 42.5" above the floor. | §307.2 | Recess the shelf and dispenser so they protrude a maximum of 4", lower them so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 500 | Yes | 5
3890 | 1st Floor Men's Restroom by Mini Market | Yes | The flush control is located on the wall side of the toilet. | §604.6 | Either make the toilet flush automatically or relocate the flush control to be operated on the open side of the toilet. | 500 | Yes | 5
3926 | 3rd Floor Map | Yes | The desk protrudes 8" into the circulation space. | §307.2 | Replace the desk's granite surface with one that has a maximum protrusion depth 4". | 500 | Yes | 5
4008 | 2nd Floor Housing and Community Development Women's Restroom | Yes | The rear grab bar is located 6" to the center of the toilet. | §604.5.2 | Adjust the rear grab bar so that it extends from the centerline of the water closet 12" minimum on one side and 24" minimum on the other. | 500 | Yes | 5
4335 | 3rd Floor Men's Restroom by IT | Yes | The side grab bar is located 52" from the rear wall. | §604.5.1 | Replace the side grab bar with one that is a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall. | 500 | Yes | 5
4336 | 2nd Floor PDS Men's Restroom | Yes | The rear grab bar is located 52" from the side wall and is not located 12" from the centerline of the toilet to the side wall. | §604.5.2 | Relocate the rear grab bar so that it extends from the centerline of the water closet 12" minimum on one side and 24" minimum on the other. | 500 | Yes | 5
3847 | 1st Floor Entrance | Yes | Low hanging branches are 60" high above the ground. | §307.4 | Trim the low hanging branches to provide a minimum vertical clearance of 80". | 500 | Yes | 2
4006 | 2nd Floor Housing and Community Development Women's Restroom | Yes | The toilet is 16.5" above the floor. | §604.4 | Adjust the toilet seat to comply with the minimum height of 17" and maximum of 19” above the floor measured to the top of the seat. | 500 | Yes | 3
4429 | 1st Floor Elevator | Yes | There is no first floor elevator door tactile star sign and the other floors have signs located at a low height. | §407.2.3.1 | Install a tactile sign with a tactile star on the door jambs of the main level. Reinstall elevator door jamb signage centered at 72" minimum above the floor. | 500 | Yes | 3
3938 | Main Plaza along W Idaho Street | Yes | There are 8 planter openings 7.5" wide, posing a tripping hazard. | §302.3 | Fill in the openings with mulch, stone, or soil to ensure that the openings in the ground surface do not exceed 0.5". | 800 | No | 3
4207 | Mayor's Office Part 3 | Yes | The dining and work surface counter is 36.75" above the floor. | §902.3 | The dining and work surface must be no higher than 34” above the floor for a horizontal length of 36" minimum. | 1000 | No | 8
3491 | Drinking Fountain | Yes | There is only one drinking fountain provided at 34" above the ground. | §211.2, §602.7 | Install an additional drinking fountain at a minimum height of 38" and maximum of 43" above the ground. | 1000 | No | 6
3803 | Purchasing Department | Yes | The tactile sign identifying the room does not have an 18"x18" clear floor space. The fire hose connector protrudes 4.75" into the circulation space. | §307.2, §703.4 | Relocate the fire extinguisher and fire hose connector to provide an 18"x18" clear floor space in front of the sign. Recess the fire hose connector so it protrudes a maximum of 4", or lower it so the bottom edge is 27" maximum above the floor to provide cane detectability. | 1000 | No | 6
3814 | 1st Floor Garage by Motor Pool | Yes | Handrails are located on one side, and there are no handrail extensions. | §505.2 | Install a second handrail on the other wall at a minimum height of 34” and maximum of 38” above the ground. Make sure there are adequate handrail extensions both at the top and bottom of the handrail. | 1000 | No | 6
3828 | 2nd Floor Housing and Community Development Lactation Room | Yes | There is no knee clearance underneath the counter. | §306.3.3 | Provide knee clearance underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
3832 | 1st Floor Mail Hallway | Yes | There is only one drinking fountain provided at 31.5" above the floor. | §211.2, §602.7 | Install an additional drinking fountain with a spout height at a minimum height of 38" and maximum of 43" above the ground. | 1000 | No | 6
3833 | 1st Floor Arts & History | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance for a forward approach underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
3841 | 4th Floor Men's Attorney Break Room | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance for a forward approach underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
3842 | Mail Room 1st Floor | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance for a forward approach underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
3845 | 2nd Floor Men's Restroom by Bistro | Yes | The urinal height is at 23" above the floor. | §605.2 | Lower the urinal to a maximum height of 17"above the floor. | 1000 | No | 5
3848 | HR 1st Floor | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance for a forward approach underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
3852 | 2nd Floor Engineering Men's Restroom | Yes | The accessible water closet does not have a vertical grab bar. | ICC 604.5.1 | Install an 18" long (minimum) vertical grab bar on the side wall. The grab bar shall be mounted with the bottom located at 39" minimum and 41" maximum above the floor. The centerline of the vertical grab bar shall be located 39" minimum and 41" maximum from the real wall. | 1000 | No | 5
3853 | 2nd Floor Engineering Men's Restroom | Yes | The side grab bar is 52" from the rear wall. | §604.5.1 | Replace the side grab bar with one that is a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall. | 1000 | No | 5
3855 | 3rd Floor City Council Chambers Break Room | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance for a forward approach underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
3864 | 4th Floor Public Works | Yes | There is only one drinking fountain provided at 34" above the floor. | §211.2, §602.7 | Install an additional drinking fountain at a minimum height of 38" and maximum of 43" above the ground. | 1000 | No | 6
3874 | 4th Floor Public Works Women's Restroom | Yes | The side grab bar extends 53.5" from the rear wall. | §604.5.1 | Replace the side grab bar with one that is a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall. | 1000 | No | 5
3878 | 4th floor Men's Attorney Restroom | Yes | The accessible water closet does not have a vertical grab bar. | ICC 604.5.1 | Insall an 18" long (minimum) vertical grab bar on the side wall. The grab bar shall be mounted with the bottom located at 39" minimum and 41" maximum above the floor. The centerline of the vertical grab bar shall be located 39" minimum and 41" maximum from the real wall. | 1000 | No | 5
3879 | 4th floor Men's Attorney Restroom | Yes | The side grab bar is 52" from the rear wall. | §604.5.1 | Replace the side grab bar with one that is a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall. | 1000 | No | 5
3880 | Lobby 1st Floor Capitol Blvd. Elevator | Yes | There is only one drinking fountain provided at 34" above the floor. | §211.2, §602.7 | Install an additional drinking fountain at a minimum height of 38" and maximum of 43" above the ground. | 1000 | No | 6
3947 | 1st Floor Lobby by Main St. Elevator | Yes | There is only one drinking fountain provided at 38" above the floor. | §211.2, §602.4 | Install an additional lower drinking fountain at a maximum of 36" above the ground. | 1000 | No | 6
3977 | Bogus Basin Conference Room | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance for a forward approach underneath the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
3992 | 1st Floor Arts & History | Yes | There is only one drinking fountain provided at a spout height of 36" above the floor. | §211.2, §602.7 | Install an additional drinking fountain at a minimum spout height of 38" and maximum of 43" above the ground. | 1000 | No | 6
4083 | 3rd Floor Council Offices | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
4103 | 3rd Floor City Council Chambers | Yes | The running slope of the ramp is 8.7%. | §405.2 | Resurface the ramp to reduce the running slope to less than 8.3%. | 1000 | No | 7
4143 | 1st Floor IT | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
4158 | Office of the Mayor | Yes | There is no knee clearance underneath the counter. | §306.3.3 | Provide knee clearance underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
4172 | Housing and Community Development | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
4198 | 1st Floor Mail Hallway Women's Restroom | Yes | The side grab bar is located 53" from the rear wall. | §604.5.1 | Replace the side grab bar with one that is a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall. | 1000 | No | 5
4206 | Mayor's Office Part 2 | Yes | There is no knee clearance underneath the sink. The shelf protrudes more than 4" into the circulation space. | §306.3.3 | Provide knee clearance underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. Lower the shelf so the bottom edge is 27" maximum above the floor, or place a cane detectable object beneath it. | 1000 | No | 5
4211 | 3rd Floor IT Back Kitchen | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
4219 | 1st Floor Men's Restroom by Art Office | Yes | The accessible water closet does not have a vertical grab bar. | ICC 604.5.1 | Insall an 18" long (minimum) vertical grab bar on the side wall. The grab bar shall be mounted with the bottom located at 39" minimum and 41" maximum above the floor. The centerline of the vertical grab bar shall be located 39" minimum and 41" maximum from the real wall. | 1000 | No | 5
4220 | 1st Floor Men's Restroom by Art Office | Yes | The side grab bar is located 52" from the rear wall. | §604.5.1 | Replace the side grab bar with one that is a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall. | 1000 | No | 5
4308 | 1st Floor HR | Yes | Due to an 8% slope, this accessible route is considered a ramp and there are no handrails. | §505.2 | Install handrails at a minimum height of 34” and maximum of 38” above the ground. Make sure there are adequate handrail extensions both at the top and bottom of the handrail. | 1000 | No | 6
4326 | Planning and Development Services | Yes | There is only one drinking fountain provided at 32" above the floor. | §211.2, §602.7 | Install an additional drinking fountain at a minimum height of 38" and maximum of 43" above the floor. | 1000 | No | 6
4334 | 3rd Floor Men's Restroom by IT | Yes | The accessible water closet does not have a vertical grab bar. | ICC 604.5.1 | Insall an 18" long (minimum) vertical grab bar on the side wall. The grab bar shall be mounted with the bottom located at 39" minimum and 41" maximum above the floor. The centerline of the vertical grab bar shall be located 39" minimum and 41" maximum from the real wall. | 1000 | No | 5
4338 | 2nd Floor PDS Men's Restroom | Yes | The accessible water closet does not have a vertical grab bar. | ICC A117.1 §604.5.1 | Insall an 18" long (minimum) vertical grab bar on the side wall. The grab bar shall be mounted with the bottom located at 39" minimum and 41" maximum above the floor. The centerline of the vertical grab bar shall be located 39" minimum and 41" maximum from the real wall. | 1000 | No | 5
4343 | 2nd Floor PDS Men's Restroom | Yes | The toilet is 16" above the ground. | §604.4 | Adjust the toilet seat to comply with the minimum height of 17" and maximum of 19” above the ground measured to the top of the seat. | 1000 | No | 5
4351 | 4th Floor Public Works Break Room | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance underneath the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
4364 | Main Lobby | Yes | There is only one drinking fountain provided at 36" above the floor. | §211.2, §602.7 | Install an additional drinking fountain at a minimum height of 38" and maximum of 43" above the floor. | 1000 | No | 6
4372 | 4th Floor Office of the City Attorney | Yes | There is only one drinking fountain provided at 34.75" above the floor. | §211.2, §602.7 | Install an additional drinking fountain at a minimum height of 38" and maximum of 43" above the floor. | 1000 | No | 6
4408 | 3rd Floor IT Break Room | Yes | There is no knee clearance underneath the sink. | §306.3.3 | Provide knee clearance underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1000 | No | 5
4414 | 3rd Floor IT Women's Restroom | Yes | The side grab bar is located 51.5" from the rear wall. | §604.5.1 | Replace the side grab bar with one that is a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall. | 1000 | No | 5
4423 | Art and History Women's Restroom | Yes | The side grab bar is located 52.5" from the rear wall. | §604.5.1 | Replace the side grab bar with one that is a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall. | 1000 | No | 5
4425 | Art and History Women's Restroom | Yes | The toilet is located 19" from the sidewall. | §604.2 | Reposition the toilet to be within 16" minimum and 18" maximum from the sidewall. | 1000 | No | 5
3990 | 2nd Floor PDS Garage | Yes | The entrance from the garage has a 2.5% slope. | §404.2.4.4 | Resurface the entryway to reduce the running slope to a maximum of 2% in all directions. | 1000 | No | 3
4294 | 1st Floor Garage | Yes | The walking surface has a running slope of 8.5%. | §403.3, §505.2 | Resurface the route to reduce the running slope to a maximum slope of 8.3%. | 1000 | No | 3
4367 | Purchasing Department | Yes | The purchasing department counter height is 49" above the ground. | §904.4.1 | A portion of the service counter must be no higher than 36” above the ground for a horizontal distance of 36”. | 1000 | No | 4
4395 | W Idaho Street | Yes | The entrance on west Idaho Street has a 2.6% slope. | §404.2.4.4 | Resurface the entryway to reduce the running slope to a maximum of 2% in all directions. Ensure that the maneuvering clearance is 60" minimum. | 1000 | No | 3
3925 | 3rd Floor Map | Yes | The table height is at 36" and the map is at 39" above the floor. The map faces straight up that a person in a wheelchair wouldn’t be able to read it. | §904.4.1 | Reinstall the map in a vertical orientation to ensure that it is readable by a person in a wheelchair. | 1000 | No | 0
4230 | Entire Facility | Yes | There are approximately 12 door knobs that require twisting of the wrist. | §309.4 | Replace the door knobs with a lever handle that can be operated with a closed fist and without twisting the wrist. | 1200 | No | 7
4304 | 1st Floor Arts & History | Yes | The work surface/sink counter height is at 36" above the floor, exceeding the maximum height of 34" above the floor. | §902.3, §306.3.3 | The dining and work surface must be no higher than 34” above the floor for a minimum width of 36". Provide knee clearance for a forward approach under the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 1500 | No | 8
4398 | 2nd Floor Garage North Space 222 | Yes | There is no parking sign identifying the accessible parking space. There are a total of 192 parking spaces, two accessible spaces, and zero van accessible spaces. | §216.5 | Remount the accessible parking signs to ensure 60" minimum height from the ground. Paint three additional accessible parking spaces and one van accessible space. | 1500 | No | 3
4087 | 2nd Floor Housing and Community Development Wellness Alley | Yes | The counter surface and sink height is at 36" above the floor, exceeding the maximum height of 34" above the ground. | §902.3, §306.3.3 | The counter surface must be no higher than 34” above the ground for a minimum width of 36". Provide knee clearance underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 2000 | No | 8
3824 | 5th Floor Office of the City Attorney Women's Restroom | Yes | The side grab bar is located 51.5" from the rear wall. The accessible water closet does not have a vertical grab bar. | §604.5.1, ICC/ANSI 604.5.1 | Replace the side grab bar with one that is a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall.Install an 18" long (minimum) vertical grab bar on the side wall. The grab bar shall be mounted with the bottom located at 39" minimum and 41" maximum above the floor. | 2000 | No | 5
3860 | 1st Floor Men's Restroom | Yes | The accessible water closet does not have a vertical grab bar. The side grab bar is 52" from the rear wall. | §604.5.1, ICC/ANSI 604.5.1 | Install an 18" long minimum vertical grab bar, with the bottom located at 39" minimum and 41" maximum above the floor. The centerline shall be located 39" minimum and 41" maximum from the real wall. Replace the side grab bar with one that is a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall. | 2000 | No | 5
3978 | 3rd Floor Mayors Supply Room | Yes | The dining and work surface counter is 36" above the floor. There is no knee clearance underneath the sink. | §306.3.3, §902.3 | A portion of the dining and work surface must be no higher than 34” above the floor. Provide knee clearance for a forward approach underneath the counter at the sink that is a minimum of 11" deep at 9" above the floor and 8" deep at 27" above the floor. | 2000 | No | 5
4224 | 1st Floor Mail Hallway Women's Restroom | Yes | The accessible route to the showers is 33" wide. | §403.5.1 | Widen the accessible route to 36" wide and allow for a turning space of 60"x60". | 2000 | No | 5
4250 | 2nd Floor Housing and Community Development Women's Restroom | Yes | The side grab bars are located 52" from the rear wall. | §604.5.1 | Replace the side grab bars with ones that are a minimum of 42" long minimum, located 12" maximum from the rear wall and extending 54" minimum from the rear wall. | 2000 | No | 5
3915 | 2nd Floor Public Works Engineering | Yes | The counter height is at 38" above the floor, exceeding the maximum height of 36" above the ground. | §904.4.1 | A portion of the service counter must be no higher than 36” above the ground for a horizontal distance of 36”. | 2000 | No | 4
4311 | Main Street Entrance | Yes | At the entrance doors, there is a 48" leveled maneuvering clearance. Beyond that, the concrete has a slope exceeding 2%. | §404.2.4.1 | Repave the area in front of the entrance to provide a 60" minimum maneuvering clearance with a maximum slope of 2%. Ensure that the 30"x48" clear floor space in front of the push button has a maximum slope of 2%. | 2000 | No | 3
4400 | 2nd Floor Garage North Space 222 | Yes | There are beams in the accessible parking space reducing the vertical clearance to 76". | §502.5 | Relocate the accessible parking space to the back corner to allow the acceessible route not to conflict with the traffic coming up the ramp. Ensure that there is a minimum vertical clearance of 98”.Since the garage does not have an elevator, ensure that the accessible parking space is located on the shortest accessible route from parking to an accessible entrance. | 2000 | No | 3
4457 | Entrance on Idaho St | Yes | The entrance on Idaho Street next to the Human Resources main entrance has a 4% slope. | §404.2.4.4 | Resurface the entryway to provide a maneuvering clearance with a maximum running slope of 2% in all directions. Ensure that the maneuvering clearance is 60" minimum. | 2000 | No | 3
4050 | Lobby Kiosk | Yes | The interactive touch screen does not have any sound or tactile components. Therefore, a visually impaired person would not be able to access the information provided by the kiosk. | §707 | Audio instructions must be provided that guide the user through all functions of the machine. Tactile instructions must be provided informing the user on the method of activating the audio instructions.Controls to operate the kiosk must meet the requirements of §707. | 3000 | No | 8
4137 | 1st Floor Micro Market | Yes | The interactive touch screen does not have any sound or tactile components. Therefore, a visually impaired person would not be able to access the information provided by the kiosk. | §707 | Audio instructions must be provided that guide the user through all functions of the machine. Tactile instructions must be provided informing the user on the method of activating the audio instructions.Controls to operate the kiosk must meet the requirements of §707. | 3000 | No | 8
4344 | 3rd Floor Main Street Elevators | Yes | The vending machine controls are 51" above the floor. | §308.2 | Replace the vending machine with one that has controls located within the accessible reach range of 15" minimum and 48" maximum above the floor. | 3000 | No | 8
4116 | 1st Floor Men's Restroom by Mini Market | Yes | There is a 6" step at the shower entrance. | §213.3.6 | Install at least one accessible shower complying with §607 or §608. | 5000 | No | 6
4124 | 2nd Floor Men's Restroom by Bistro | Yes | The toilet compartment size is too small. | §604.8.1.1 | Combine the two non-accessible stalls into one 60" wide wheelchair accessible toilet stall, complying with §604.8. | 5000 | No | 7
4052 | 3rd Floor Garage | Yes | The ramp has a 3.1% cross slope. | §405.3 | Reconstruct the ramp to have a cross slope of 2% or less. Ensure that the maximum running slope is 8.3%. | 5000 | No | 1
3856 | 1st Floor Mail Hallway Women's Restroom | Yes | The showers are not accessible due to the 6" step at the entrance. | §213.3.6 | Reconstruct at least one accessible shower complying with §607 for a Bathtub or §608 for shower compartments. Ensure that the change in level is a maximum of 1/4". | 10000 | No | 6
4356 | Entire Facility | Yes | There is no tactile sign identifying approximately 280 permanent rooms. | §216.2, §703 | Install tactile signage on the latch side of the doorway at a height of 48” minimum to 60” maximum above the floor, identifying room by name or room number. Signs shall be Braille with raised lettering and should be placed on the wall in the center of an 18"x18" clear floor space. | 28000 | No | 3
High (1-4) | 50200
Medium (5-7) | 84000
Low (8-10) | 16000
Total | 150200
Quick Fix | 14200